## Slide 1: The use of plates in fracture fixation
AO Trauma Basic Principles Course
Notes: Creation date: 2019
Author: Hatem Said

## Slide 2: Learning objectives
Comprehend the different functions of plates in fracture fixation
Demonstrate plate features that enable these functions
Discuss how to use plates for absolute and relative stability
State the indications for locking plates

## Slide 3: Plates in fracture fixation
Compression plate
Protection plate
Buttress plate
Tension band plate
Bridging plate
Absolute stability
Relative stability

## Slide 4: Compression plating
Dynamic compression principle (DCP)
Plate over-bending
Tensioning device
……provides absolute stability – direct bone healing (no callus)

## Slide 5: Compression by DCP
Eccentrically placed screw – away from the fracture site
Screw tightening leads to fracture compression

## Slide 6: Absolute stability: compression by DCP
Transverse fracture
Notes: Case by Hatem Said.

## Slide 7: Compression by plate over-bending
Tension of straight plate on straight bone – opens opposite cortex
Compress by tension device or eccentric screws

## Slide 8: Compression by tension device
Compress into the axilla of the fracture

## Slide 9: Protection plate: (neutralization)
Protects interfragmentary lag screw
Resists torsion, bending, and shear forces
Absolute stability – direct bone healing

## Slide 10: Protection plate
Lag screws
Notes: Case by H Said

## Slide 11: Buttress plate
Resists axial shear load by applying opposing force
In areas where bone is not supported by the shaft, eg, condyles
      Distal femur
      Tibial plateau
      Ankle

## Slide 12: Buttress plate
Notes: Change case from Adv

## Slide 13: Tension plate: converting tension to compression
Curved bone: eccentric loading
Plate on tension (convex) side
Intact opposite cortex

## Slide 14: Bridging plate
Multifragmentary fractures
Bridge the fracture site: restore length, rotation, and angulation
Relative stability – healing by callus

## Slide 15: Bridging plate: tips
Long plates: three times the length of the fracture
    Increase level arm
    Decrease load on distal screws
No screws in fracture area

## Slide 16: Relative stability
Callus
Callus
Notes: Case by H Said.

## Slide 17: Relative stability
Callus
Notes: Case By H Said: Replating femur after metal failure. Bridge plating.

## Slide 18: Locking plates
Can be used as a regular plate to perform the same functions
Can be used as an internal fixator without compressing the periosteum
Locking plate/screws: biomechanical advantage
    Load distribution along the whole construct
    Higher forces required for failure
Notes: Can be used as a regular plate to perform the same functions: compression, protection, buttress, bridging.

## Slide 19: Locking plates: indications
Osteoporotic bone
  Elderly patients
  Nonunions
Short segment of bone (not enough screws) eg, condyles
MIPO
Photos
Notes: Can be used as a regular plate to perform the same functions: compression, protection, buttress, bridging.
MIPO can be an Indication if fewer screws are planned, and a smaller incision.

## Slide 20: Locking plates: tips
Locking screws: cannot be used for reduction
“Reduce before locking”
Locking screws: not lag screws
  But can maintain compression produced by other means
Osteoporotic bone:
  Relative stability instead of absolute stability
  No lag screws
Notes: Can be used as a regular plate to perform the same functions: compression, protection, buttress, bridging.
MIPO can be in Indication if fewer screws are planned, and a smaller incision.

## Slide 21: Plates as a reduction tool
Helps in fracture reduction
Depends on fixing the plate on one side
  Then tightening the screws to push the fragment (buttress plates)
  Or using reduction tools on the opposite side (shaft plates)
Works with nonlocking screws only

## Slide 22: Take-home messages
Plates have different functions in fracture fixation depending on their application method
They can produce absolute or relative stability
Locking plates have specific indications
Plates can be used as a reduction tool