## Slide 1
Prepared by Bas Masri
Classification of periprosthetic fractures
Notes: Author: Bas Masri, MD, FRCSC
Approved by AO Trauma and AO Recon Periprosthetic Fractures Curriculum Taskforce and AO Recon Hip and Knee Curriculum Taskforce (2020)

## Slide 2: Learning objectives
Apply the Unified Classification System (UCS)
Appreciate the value of a classification system

## Slide 3: The Vancouver Classification (Duncan & Masri 1995)
4%
16%
39%
32%
9%
Notes: Reference:
Duncan CP, Masri BA. Fractures of the femur after hip replacement. Instr Course Lect. 1995;44:293–304.

## Slide 4: The Unified Classification System
Bringing the Vancouver Classification to other joints and bones

## Slide 5: Unified Classification System
Hip
Knee
Shoulder
Elbow
Ankle
Wrist
Pelvis

## Slide 6: Unified Classification System—mnemonic
Type A A pophyseal
Type B B ed of implant
Type C C lear of implant
Type D D ividing implants
Type E E ach of two bones
Type F F acing an implant

## Slide 7: Type A
Fracture of an Apophysis or protuberance of bone to which a tendon or ligament is attached

## Slide 8: Type A
Greater trochanter
Lesser trochanter
Greater tuberosity
Lesser tuberosity
Tibial tuberosity
Coracoid process
Acromion process
Humeral epicondyles
Olecranon process
Coronoid process
… and poles of patella

## Slide 9: Type A

## Slide 10: Type B
Fracture involving the Bed supporting the implant

## Slide 11: Type B
B1: Implant well-fixed
B2: Implant loose
B3: Loose and poor bone
Needs to be subclassified

## Slide 12
B1
B2
B3
B3

## Slide 13: Type C
Distant enough that the implant can be ignored and the fracture treated independently
Well Clear of the implant

## Slide 14: Type D
Femur
Tibia
Humerus
Radius
Fracture Dividing one bone supporting two replaced joints:

## Slide 15: Type D
Fracture between THR and TKR
For management, best to think of it as a hip B3 and ignore knee

## Slide 16
Type C for the hip
Type C for the knee

## Slide 18: Type D
  Management, need to operate on FEMUR:
    Not for hip nor for knee
  Type of surgery will involve the most affected joint:
    In this case, the hip because the stem will interfere with the plate
    Best to think of type D in terms of most affected joint
  In this case, I would prefer a B1 hip:
    This will dictate treatment
    Improve communication
    Improve reporting of results
Notes: Clarify what is mean by “Not for hip nor for knee”

## Slide 19: Type E
Each of two bones supporting one arthroplasty

## Slide 20: Management
Individualized for each bone containing an implant and managed accordingly
“Block out analysis”

## Slide 21: Type E
Each side of the joint is involved

## Slide 22: Type E
Type B3 femur

## Slide 23: Type E
Type B3 femur
Type B3 pelvis

## Slide 24: Type E
Fracture involving two bones supporting one arthroplasty
Type B3 for the cup

## Slide 25: Type E
Fracture involving two bones supporting one arthroplasty
Type B2 for the stem

## Slide 26: Type E
  Need to book surgery for EACH part of the joint:
    Femur and acetabulum in this case
  Designating the fracture as type E will not allow one to determine treatment
  Designating this as B3 pelvis and B2 femur:
    Will allow easier communication
    Will determine treatment
    Will allow reporting of results

## Slide 27: Type E—treated as B3 pelvis and B2 femur
Notes: 27

## Slide 28: Unified Classification System—mnemonic
Type A A pophyseal
Type B B ed of implant
Type C C lear of implant
Type D D ividing implants
Type E E ach of two bones
Type F F acing an implant

## Slide 30: Type F
Management:
Depends on degree of displacement and bone comminution

## Slide 31
Mildly displaced
Treat as B1

## Slide 32
Severely displaced
Treat as B2
Treat as B3

## Slide 33: Type F—very rare
Because of adjacent implant, will not treat as native bone
Will have to put in an implant (except in patella)
Best to think of it as a type B fracture
This will dictate appropriate treatment

## Slide 34: UCS vs Vancouver classification
  A, B, C exactly the same
  D, E, F:
    Do not indicate treatment
    Still need to think of each bone as A, B, C
Value of UCS is that it brought Vancouver to other joints

## Slide 35: Take-home messages
The UCS mnemonic:
Type A, Apophyseal
Type B, Bed of the implant
Type C, Clear of the implant
Type D, Dividing one bone which supports two joint replacements
Type E, Each of two bones supporting one joint replacement
Type F, Facing or articulating with an implant