Example instrument and implant check-list

|  | Name of Instrument or Implant Set | Catalog Number |
| --- | --- | --- |
| Stainless Steel Sets | • Basic Instrument Set | 105.120 |
|  | • Basic Screw Set | 105.110 |
|  | • Basic Plate Set (DCP) | 105.230 |
|  | • Small Fragment Set | 105.400 |
|  | • Mini Fragment Set | 105.480 |
| Titanium Sets | • Titanium Basic Instrument Set | 115.040 |
|  | • Titanium Basic Screw Set | 145.130 |
|  | • Titanium Basic Plate Set (LC-DCP) | 145.260 |
|  | • Small Fragment Instrument and Titanium Implant Set | 145.440 |
|  | • Mini-Fragment Instrument and Titanium Implant Set | 125.480 |
|  | • Modular Hand Instrument and Implant Set |  |
|  | • Distal Radius Plate Instrument and Implant Set (Titanium) | 145.505 |
|  | • Titanium Wrist Fusion Plate Instrument and Implant Set | 145.457 |
| Specialty Sets | • DHS/Basic Set (Self tapping screws) | 105.837 |
|  | • Trochanteric Stabilization Plate Instrument and Implant Set | 105.385 |
|  | • DCS Implant and Instrument Supplement | 105.360 |
|  | • Bending Pliers - Hand held | 329.150 |
|  | • Plate Bending Press - Table model | 329.300 |
|  | • Large Plate Bending Irons - Twisting irons | 329.020 |
|  | • Angled Blade Plate Instrument Set | 105.330 |
|  | • 95° Condylar Blade Plate Set (DCP) | 105.340 |
|  | • Wire Instrument and Implant Set | 105.920 |
|  | • Orthopaedic Cable System Instrument Set | 105.924 |
|  | • Trochanteric Reattachment Device | 498.806S |
|  | • Bone Forceps Set | 105.900 |
|  | • Periarticular Reduction Forceps Set | 105.909 |
|  | • Plate Holding Forceps Set with swivel foot | 398.810 |
|  | • Instrument Set for Broken Screw Removal | 102.970 |
|  | • Medial Distal Tibial Plate Set (Non-Locking) (SS) (3.5 & 4.5 mm) | 223.5xx & 224.5xx |
|  | • 3.5 LCP Medial Distal Tibial Plate (with tab) Instrument and Implant Set | 115.358 |
|  | • 3.5mm 90° Cannulated LC-Angle Blade Plate Instrument and Implant Set | 105.336 |
|  | • 4.5mm 90° Cannulated LC-Angle Blade Plate Instrument and Implant Set | 105.446 |

| Locking Plate Sets | • Locking Small Fragment LCP Instrument and Implant Set | 105.434 |
| --- | --- | --- |
|  | • Large Fragment LCP Instrument and Implant Set (4.0 and 5.0 Screws) | 115.400 |
|  | • 3.5 mm LCP Olecranon Plate Instrument and Implant Set (SS) | 01.104.015 |
|  | • 3.5 mm LCP Anterolateral Distal Tibial Plate Implant Set (SS) | 01.124.001 |
|  | • Locking Calcaneal Plate Instrument and Implant Set | 105.442 |
|  | • Locking Condylar Plate Instrument and Screw Set | 105.210 |
|  | • 2.4 mm LCP Distal Radius Plate Instrument and Implant set (Titanium) | 145.515 |
|  | • 3.5 mm LCP Distal Humerus Plate Instrument and Implant Set (SS) | 01.104.000 |
|  | • LCP Periptosthetic System (SS) and (Titanium) | 01.225.602 |
|  | • 4.5mm LCP Condylar Plate Implant Set | 105.221 |
|  | • Periarticular LCP Plating System Instrument and Screw Set | 105.210 |
|  | • Basic Percutaneous Instrument Set (for Condylar Plate) |  |
|  | • 3.5 mm LCP Proximal Tibial Plate Implant Set (SS) (3.5 and 4.5 mm) | 105.242 |
|  | • Proximal Tibial L.I.S.S. Implant and Insertion Guide Set | 145.472 |
|  | • LISS Locking Screw and Instrument Set | 145.471 |
|  | • Distal Femoral L.I.S.S. Instrument and Instrument Set | 175.502 |
| Pelvic Instrument Sets | • Pelvic Implant Set (Reconstruction Plates) | 125.850 |
|  | • Pelvic Reduction Forceps Set | 398.880 |
|  | • Reconstruction Plate Bending Pliers | 329.290 |
|  | • Reconstruction Plate twisting irons 2.7/3.5 mm | 329.070 |
|  | • Reconstruction Plate twisting irons 3.5/4.5 mm | 329.080 |
| IM Rodding Sets | • Titanium Femoral Nail Standard Insertion and Locking Set (Bolts) | 105.655 |
|  | • Titanium Unreamed Femoral Nail Specialty Locking Set | 105.680 |
|  | • Titanium Femoral Nail Inventory | Individual Sterile Packages |
|  | • Titanium Elastic Nail Instrument and Implant Set | 105.71 |
|  | • End Cap for Elastic Nails |  |
|  | • Titanium Trochanteric Fixation Nail Insertion Set | 105.641 |
|  | • Titanium Trochanteric Fixation Nail Locking Set (Locking Bolts) | 105.642 |
|  | • Titanium Trochanteric Fixation Nail Inventory | Individual Sterile Packages |
|  | • Titanium Distal Femoral Nail Insertion and Locking Set | 105.521 |
|  | • Titanium Tibial Nail Insertion and Locking Set (Solid or Cannulated) | 105.570 |
|  | • Unreamed Tibial Nail Inventory | Individual Sterile Packages |
|  | • Titanium Solid Humeral Nail Insertion and Locking Set | 105.691 |
|  | • Titanium Solid Humeral Nail Inventory | Individual Sterile Packages |

| Ex-Fix Sets | • Universal Set for Large Ex-Fix (Carbon Fiber Rods) | 115.96C |
| --- | --- | --- |
|  | • Adjustable Large Ex Fix and Titanium Screw Set | 105.016 |
|  | • Hybrid Fixator Universal Set | 115.940 |
|  | • Distal Radius Fixator Set (Titanium implants) | 115.954 |
|  | • Medium External Fixator Set (Titanium implants) | 115.994 |
|  | • Small Ex-Fix Set with Carbon Fiber Rods | 102.982 |
|  | • Mini External Fixator Instrument and Implant Set | 115.985 |
|  | • Universal Large Distractor Set | 117.700 |
|  | • Small Femoral Distractor Set (Pull Standard Ex-Fix Set) | 139.030 |
|  | • Aiming Device for External Fixators | 333.510 |
| Cannulated Screw Sets | • 7.3 mm Cannulated Screw Instrument and Implant Set (SS) | 105.160 |
|  | • 4.5 mm Cannulated Screw Instrement and implant Set (SS) | 105.04 |
|  | • 4.5 mm Cannulated Screw Instrement and implant Set (Titanium) | 145.04 |
|  | • 3.5/4.0 mm Cannulated Screw Combined Instrument and Implant Set |  |
|  | • 3.0 mm Cannulated Screw Instrument and Implant Set (SS) | 105.170 |
| Revised 1/12/2008 | • 3.0 mm Titanium Cannulated Screw Instrument and Implant Set | 145.170 |